Documentation for the first distribution of WinFluxWMP.exe v1.0

WinFluxWMP.exe is a Windows native version of Tilden Myers’ eddy flux program designed for the Gill Wind Master Pro sonic anemometer.  WinFluxWMP.exe was written by Joe Verfaillie with the Global Change Research Group at San Diego State University.  WinFluxWMP.exe is intended to be freeware and may not be sold in any form.

File List:

winfluxWMP.exe

winfluxwmp.cp

fluxr3.h

setup

readme.doc

The heart of Tilden’s eddy flux program remains intact but a new serial interface and graphics interface have been added.

The new serial interface is multi-threaded and uses COM port 1 or 2 as selected in the setup file.  The connection speed and protocols are hard wired in the code as 9600, 8, none, 1.  The serial port has a 512 byte buffer which can be changed in the code, but being multi-threaded the serial port thread should continually copy this buffer into available RAM even if the main thread is delayed.  Gone is the full buffer graphic on the screen.

The new graphics interface allows the window to be resized.  Most of the elements are the same as the DOS version except the wind rose is in the shape of a windsock and a digital display of the direction the wind is coming from has been added.  A new counter has also been added.  At start up a five digit number at the top of the screen should count up to 200 while the program is initialized.  Afterwards the counter should show a constant number indicating the number of bytes received in each message sent from the sonic.  If no data is being sent by the sonic or there is a problem with the serial port connection this counter will show “-RTO-“ indicating a Read Time Out occurred.

Other changes include:

The exact bytes sent by the sonic are saved to the raw file.  This allows flux to be calculated from the raw files at a later time or to be calculated several times using different averaging times.  A program to reprocess raw files, ReFlux, is in development.

The output paths in the setup file can be up to 120 bytes long.  Flux files and raw files can now be directed to deeply nested folders.

The print option is no longer used in the set up file.  It still needs to exist in the setup file it just isn’t used.

Keyboard commands no longer supported.

Notes on the Code:

WinFlux was developed using Metrowerks CodeWarrior, however the code was written in accordance with Windows Standard Development Kit (SDK) and should compile with little or no changes on any Windows compliant compiler.  WinFlux runs on Windows 98, NT and 2000, and with a small change noted in the code can run on Windows 95.

Much of Tilden’s original code remains unchanged though some sections have been commented out or removed.

Contact:

Joe Verfaillie <josephv@sunstroke.sdsu.edu>

Global Change Research Group

San Diego State University

Biology Dept. PS240

5500 Campanile Drive

San Diego, CA 92182-4614

TEL 619-594-1197

FAZ 619-594-7831