Grad2005, Cham2005, column names:

"pdetect" 			==> pressure in detection chamber (mbar)

"PCair" 				==> pressure in inlet before entering the PTR-MS (mbar)

"tdrift" 				==> temperature of drift tube (degree celsius)

"udrift" 				==> voltage along the drift tube (V)

"pdrift" 				==> pressure in drift tube (mbar)

"year" 				==>

"toy" 					==> time of year, e.g. Jan 2, 2005, 6:00pm is 2.75

"t03" 					==> days since 12/31/2002 (leap days are omitted)

"doy" 					==> day of year

"hours" 				==> hour of day

"minutes" 			==> minute of hour

"seconds" 			==> second of minute

"m37DIVm21" 			==> ratio m37 / m21 (cps/cps)

"m32DIVm21" 			==> ratio m32 / m21 (cps/cps)

"cycle" 				==> measurement cycle

"reltime" 			==> elapsed time since cycle 1 was recorded

"FMair" 				==> sample air flow entering the PTR-MS but by-passing the drift tube (sccm)

"FCh2o" 				==> water flow into ion source (sccm)

"Ud" 					==> voltage along the drift tube (V)

"pd" 					==> pressure in drift tube (mbar)

"FCinlet" 			==> main inlet flow (sccm)

"FCstd" 				==> standard gas flow (sccm)

"FCcalib" 			==> gas flow of PTR-MS calibration standard cc206760 (sccm)

"FCchamO3" 			==> chamber flow with O3 (sccm)

"FCcham" 				==> chamber flow without O3 (sccm)

"FCchamGC" 			==> flow in line from chamber ‘interface’ to GC-port (sccm)

"FMco2" 				==> CO2 flow added to 0-air (sccm)